| Ulster University |  |  |
| --- | --- | --- |
|  |  | Fannie Bichemin – Intern at Ulster University Student at ENSEA (Ecole Nationale Supérieure de l’Electronique et de ses Applications) |

Heart rate & Oxygen level monitor for babies

Table of contents

Introduction	3

research	4

Heart rate monitor : AD8232	4

ECG front end : AD8232 Evaluation board	5

Feather M0 – Development board	5

Heart rate & BLE : MAX86165EVKIT	6

ECG & PPG :AFE4950EVM	6

ECG, PPG & BLE : AS7058 EVALUATION KIT	7

Conclusion	8

List of figures

Figure 1 : AD8232 board	5

Figure 2: Example of a heart rate displayed thanks to this board (https://cdn.sparkfun.com/r/500-500/assets/0/d/f/d/0/HeartRate_Normal.png)	5

Figure 3 : FTDI Basic board	5

Figure 4 : AD8232 Evaluation Board	6

Figure 5 : Feather M0 board	6

Figure 6 : Max86165EVKIT board	7

Figure 9 : AS7058 board	8

# Introduction

Sometimes, babies are born with the need to have their heart rate and oxygen levels monitored. We will do some research to try to create a prototype that can monitor these characteristics and send the values via Bluetooth to a mobile application. The aim is to create a device with electrodes and a ring sensor.

# research

## Heart rate monitor : AD8232

Information about this board is available on this website : AD8232 (Rev. D) (analog.com)

A tutorial to program this board with Arduino is available here : AD8232 Heart Rate Monitor Hookup Guide - SparkFun Learn

Figure 1 : AD8232 board

- This board is used to measure the electrical activity of the heart.

- 2-3 electrode configurations available

- Leads-off detection is available

- It is possible to use this board with Arduino IDE to show heart rate waveform

Figure 2: Example of a heart rate displayed thanks to this board (https://cdn.sparkfun.com/r/500-500/assets/0/d/f/d/0/HeartRate_Normal.png)

To use this electronic board, we need to connect a micro pro Arduino Board and a FTDI Basic board:

Figure 3 : FTDI Basic board

## ECG front end : AD8232 Evaluation board

Figure 4 : AD8232 Evaluation Board

Datasheet of this board : AD8232 Datasheet and Product Info | Analog Devices  & ad8232.pdf (analog.com)

Evaluation Board user guide : UG-514 (analog.com)

- Single lead ECG front end

- 2-3 electrodes configurations

- Remove additional noise

- Biopotential signal acquisition (This is the process of capturing electrical signals generated by living organisms. For example, we can record ECG, brain activity, muscle contractions or even eye movement)

## Feather M0 – Development board

Figure 5 : Feather M0 board

Feather M0 Adafruit Pinout guide : 2796_pinout_v1_0 (rs-online.com)

Feather M0 Adafruit datasheet : Atmel | SMART SAM D21 Datasheet (rs-online.com)

Feather M0 Adafruit  user guide : 0900766b81533fc5.pdf (rs-online.com)

- Development board

- MicroSD card holder included

- Lipoly battery (3.7V)

- It can be used with Arduino IDE

## Heart rate & BLE : MAX86165EVKIT

Figure 6 : Max86165EVKIT board

More information about this board : MAX86165EVKIT Evaluation Board | Analog Devices

Datasheet of this board : MAX86165 Evaluation System - Evaluates: MAX86165 (analog.com)

- Evaluation kit

- Heart rate detection

- LED driver with an IR emitter

- On board accelerometer

- Bluetooth Low Energy (LE)

## ECG & PPG :AFE4950EVM

Figure 8 : electrodes and cable

Figure 7 : AFE950EVM board

More information about this board : AFE4950EVM Evaluation board | TI.com

Datasheet of the main component: afe4950.pdf (ti.com)

- Evaluation board

- HRM, ECG & PPG

- Pulse oximetry measurements

## ECG, PPG & BLE : AS7058 EVALUATION KIT

Figure 9 : AS7058 board

More information about this board : AS7058 EVALUATION KIT ams-OSRAM USA INC. | Development Boards, Kits, Programmers | DigiKey

Datasheet of the main component: AS7058_EVK_UG001052_1-00.pdf (ams-osram.com)

- Evaluation board

- ECG & PPG

- Bluetooth Low Energy Board

# Conclusion

AS7058 board and AFE950EVM board are the best. In fact, ECG and PPG can be monitored with these boards.

AFE950EVM board would be the best for a baby because we can use electrodes. But, there is no Bluetooth module included on the board.

AS7058 board is good because there is a Bluetooth module. But, the way to collect data is not easy to use with babies. The solution could be to use wire and a new connector.